HMO LICENCE APPLICATION CHECKLIST

Housing Act 2004, Parts 2 & 3 — England

Jurisdiction: England

Last Updated: March 2026

Provided By: Leasense — www.leasense.com

## 1. Property Details

Address: [_________________________________]

Local Authority: [_________________________________]

Storeys: [___]

Lettable Rooms: [___]

Max Occupants: [___]

Households: [___]

## 2. Licence Type

•  ☐ Mandatory (5+ occupants, 2+ households, Housing Act 2004 Part 2)

•  ☐ Additional (smaller HMOs designated by local authority)

•  ☐ Selective (all PRS in designated area)

## 3. Documents Checklist

•  ☐ Completed application form (council-specific)

•  ☐ Fee payment (typically £500–£1,500)

•  ☐ Floor plan with room dimensions, fire routes, detector positions

•  ☐ Gas Safety Certificate (CP12) — within 12 months

•  ☐ EICR — within 5 years

•  ☐ Fire Risk Assessment by competent person

•  ☐ EPC — minimum E rating

•  ☐ Smoke alarms each storey (interlinked recommended)

•  ☐ CO alarm where solid fuel appliance present

•  ☐ Fire blanket in kitchen, extinguisher each floor

•  ☐ Emergency lighting (if required by fire risk assessment)

•  ☐ FD30 fire doors to kitchen and bedrooms (intumescent strips + cold smoke seals)

•  ☐ Planning permission for HMO use (check Article 4 direction)

•  ☐ Building Regulations compliance

•  ☐ Proof of ownership

•  ☐ Landlord ID

•  ☐ Management plan

•  ☐ Current tenancy agreements

•  ☐ PAT testing for landlord-supplied appliances

## 4. Room Size Compliance

| Room Use | Minimum Area | Max Occupancy |
| --- | --- | --- |
| Single bedroom (1 person 10+) | 6.51 m² | 1 |
| Double bedroom (2 persons 10+) | 10.22 m² | 2 |
| Child under 10 sleeping room | 4.64 m² | 1 |
| Shared kitchen (1–5 persons) | 7 m² recommended | 5 |
| Shared kitchen (6–10 persons) | 10 m² recommended | 10 |

## 5. Management Plan

Licence Holder: [_________________________________]

24-hour Emergency Contact: [_________________________________]

Emergency response time: [24 hours]

Urgent repairs response: [7 days]

Routine repairs response: [28 days]

1. ASB policy: investigate complaints within 14 days, warnings, tenancy enforcement.

2. Refuse: bins provided, collection days communicated to tenants.

3. Common areas: cleaned weekly / by rota. Inspected monthly.

4. Property inspections: every 3–6 months with 24 hours' notice.

5. Fire safety: weekly visual check, monthly alarm test, annual professional service.

6. Referencing: ID verification, right to rent, landlord reference, credit check.

## 6. Fit and Proper Person Declaration

Signature: [_________________________________]

Print Name: [_________________________________]

Date: [____/____/________]

•  ☐ No unspent convictions for fraud, violence, drugs, sexual offences, or housing law

•  ☐ Not on sex offenders register

•  ☐ No banning order (Housing and Planning Act 2016)

•  ☐ No previous HMO licence refusal

•  ☐ Not bankrupt

## 7. Safety Certificates Record

| Certificate | Date Obtained | Expiry | Reference |
| --- | --- | --- | --- |
| Gas Safety (CP12) | [________] | [________] | [________] |
| EICR | [________] | [________] | [________] |
| EPC | [________] | [________] | [________] |
| Fire Risk Assessment | [________] | [________] | [________] |
| PAT Testing | [________] | [________] | [________] |
| Legionella Assessment | [________] | [________] | [________] |

IMPORTANT DISCLAIMER

HMO licensing requirements vary by local authority. Verify your council's specific requirements before applying.

This template is provided by Leasense (www.leasense.com) for general informational purposes only and does not constitute legal advice. Property laws vary significantly by jurisdiction and change frequently. Before using any legally binding document, consult a qualified legal professional in your area.